## SYSTEM
SLACK_BUS | 69
MVA_PERUNIT | 100
VOLL | 10000
VOIRAMP | 100000

## RESERVEPARAM
| RESERVE_ON | RESERVE_TIME | RESERVE_DIR | RESERVE_AGC | RESERVE_GOV | RESERVE_INERTIA | RESERVE_INCLUSIVE | RESERVE_VG | VOIR
SPIN | 1 | 10 | 1 | 0 | 0 | 0 | 0 | 0 | 5000
NON_SPIN | 0 | 30 | 1 | 0 | 0 | 0 | 1 | 0 | 4000
REGULATION_DOWN | 1 | 5 | 2 | 1 | 0 | 0 | 0 | 0 | 2500
REGULATION_UP | 1 | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 2500
Note on B1: Windows User: 1 FOR ONLINE 0 FOR OFFLINE
Note on C1: Windows User: RESPONSE TIME FOR ONLINE AND START TIME FOR OFFLINE
Note on D1: Windows User: 1 FOR UP, 2 FOR DOWN, 3 FOR BOTH
Note on E1: Windows User: 1 FOR NEEDS AGC, 0 FOR DOESNT
Note on F1: Erik Ela: 1 FOR NEEDS A GOVERNOR, 0 FOR DOESNT
Note on G1: Erik Ela: 1 FOR NEEDS INERTIA, 0 FOR DOESN'T
Note on H1: Windows User: WHICH RESERVE CAN CONTRIBUTE TO TOTAL REQUIREMENT
Note on I1: Windows User: 1 FOR VG CAN PROVIDE, 0 FOR VG CANNOT PROVIDE

## DEFINITIONS
GENERATOR |  | TRANSMISSION
1 | STEAM | 1 | TRANSMISSION LINE
2 | CT | 2 | PAR_FIXED | OR UNIDIRECTIONAL
3 | COMBINED CYCLE | 3 | PAR_ADJ
4 | HYDRO | 4 | HVDC
5 | NUCLEAR
6 | PUMPED STORAGE
7 | WIND
8 | CAES
9 | LESR
10 | PV
11 | CSP
12 | PUMPED STORAGE W VARIABLE PUMP
13 | VIRTUAL GEN
This is for reference only, it does not get seen by the model.

## GEN
| CAPACITY | NO_LOAD_COST | STARTUP_COST | MIN_RUN_TIME | MIN_DOWN_TIME | RAMP_RATE | MIN_GEN | GEN_TYPE | STARTUP_TIME | SHUTDOWN_TIME | AGC_QUALIFIED | MAX_STARTS | INITIAL_STATUS | INITIAL_HOUR | INITIAL_MW | FORCED_OUTAGE_RATE | MTTR | VARIABLE_STARTUP | BEHAVIOR_RATE | INERTIA | DROOP | GOV_DB | GOV_BETA | GOV_TG | GEN_AGC_MODE | PERUNIT_COST
TG1 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 5 | 2 | 0.25 | 0.25 | 0 | 3 | 1 | 1 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG2 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 5 | 2 | 0.25 | 0.25 | 0 | 3 | 1 | 1 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG3 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 5 | 2 | 0.25 | 0.25 | 0 | 3 | 1 | 1 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG4 | 300 | 6.78 | 440 | 8 | 8 | 2.5 | 150 | 1 | 3 | 0.5 | 1 | 4 | 1 | 24 | 300 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG5 | 300 | 6.78 | 110 | 8 | 8 | 2.5 | 100 | 1 | 0.5 | 0.5 | 1 | 2 | 1 | 24 | 300 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG6 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 10 | 2 | 0.25 | 0.25 | 1 | 24 | 1 | 2 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG7 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG8 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 5 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 1 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG9 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 5 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 1 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG10 | 300 | 6.78 | 100 | 8 | 8 | 2.5 | 100 | 1 | 0.5 | 0.5 | 1 | 24 | 1 | 24 | 100 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG11 | 350 | 32.96 | 100 | 8 | 8 | 2.9167 | 100 | 1 | 0.5 | 0.5 | 1 | 24 | 1 | 24 | 350 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG12 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 8 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 2 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG13 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 8 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 2 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG14 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG15 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 8 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 2 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG16 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG17 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 8 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 2 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG18 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 8 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 2 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG19 | 100 | 10.15 | 59 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG20 | 250 | 28 | 100 | 8 | 8 | 2.0833 | 50 | 1 | 0.5 | 0.5 | 1 | 24 | 1 | 24 | 50 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG21 | 250 | 28 | 100 | 8 | 8 | 2.0833 | 50 | 1 | 0.5 | 0.5 | 1 | 24 | 1 | 24 | 50 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG22 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG23 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG24 | 200 | 39 | 100 | 8 | 8 | 1.6667 | 50 | 1 | 0.5 | 0.5 | 1 | 24 | 1 | 24 | 50 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG25 | 200 | 39 | 100 | 8 | 8 | 1.6667 | 50 | 1 | 0.5 | 0.5 | 1 | 24 | 1 | 24 | 50 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG26 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG27 | 420 | 64.16 | 250 | 10 | 10 | 3.5 | 100 | 1 | 3 | 0.5 | 1 | 24 | 1 | 24 | 100 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG28 | 420 | 64.16 | 250 | 10 | 10 | 3.5 | 100 | 1 | 3 | 0.5 | 1 | 24 | 1 | 24 | 100 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG29 | 300 | 6.78 | 100 | 8 | 8 | 2.5 | 80 | 1 | 0.5 | 0.5 | 1 | 24 | 1 | 24 | 80 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG30 | 80 | 74.33 | 45 | 4 | 4 | 0.66667 | 30 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG31 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 10 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 2 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG32 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 5 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 1 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG33 | 20 | 17.95 | 30 | 1 | 1 | 0.16667 | 5 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 1 | 20 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG34 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG35 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG36 | 300 | 6.78 | 440 | 8 | 8 | 2.5 | 150 | 1 | 3 | 0.5 | 1 | 24 | 1 | 24 | 150 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG37 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG38 | 30 | 31.67 | 40 | 1 | 1 | 0.25 | 10 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 24 | 30 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG39 | 300 | 32.96 | 440 | 8 | 8 | 2.5 | 100 | 1 | 3 | 0.5 | 1 | 24 | 1 | 24 | 100 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG40 | 200 | 6.78 | 400 | 8 | 8 | 1.6667 | 50 | 1 | 0.5 | 0.5 | 1 | 24 | 1 | 24 | 50 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG41 | 20 | 17.95 | 30 | 1 | 1 | 0.16667 | 8 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 24 | 20 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG42 | 50 | 58.81 | 45 | 1 | 1 | 0.41667 | 20 | 2 | 0.25 | 0.5 | 0 | 24 | 1 | 24 | 50 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG43 | 300 | 6.78 | 100 | 8 | 8 | 2.5 | 100 | 1 | 3 | 0.5 | 1 | 24 | 1 | 24 | 100 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG44 | 300 | 6.78 | 100 | 8 | 8 | 2.5 | 100 | 1 | 3 | 0.5 | 1 | 24 | 1 | 24 | 100 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG45 | 300 | 6.78 | 110 | 8 | 8 | 2.5 | 100 | 1 | 3 | 0.5 | 1 | 24 | 1 | 24 | 100 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG46 | 20 | 17.95 | 30 | 1 | 1 | 0.16667 | 8 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 24 | 20 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG47 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG48 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG49 | 20 | 17.95 | 30 | 1 | 1 | 0.16667 | 8 | 2 | 0.25 | 0.25 | 0 | 24 | 1 | 24 | 20 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG50 | 50 | 58.81 | 45 | 2 | 2 | 0.41667 | 25 | 2 | 0.25 | 0.5 | 0 | 24 | 1 | 24 | 50 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG51 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG52 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG53 | 100 | 10.15 | 50 | 5 | 5 | 0.83333 | 25 | 1 | 0.25 | 0.5 | 1 | 24 | 1 | 24 | 25 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
TG54 | 50 | 58.81 | 45 | 2 | 2 | 0.41667 | 25 | 2 | 0.25 | 0.5 | 0 | 24 | 1 | 24 | 50 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
Wind | 1500 | 0 | 0 | 0.083333 | 0.083333 | 250 | 0 | 15 | 0.083333 | 0.083333 | 0 | 10 | 0 | 1 | 0 | 0 | 24 |  | 1 | [5 empty] | 3 | 0
Storage | 100 | 0 | 0 | 0.25 | 0.25 | 250 | 0 | 15 | 0.083333 | 0.083333 | 1 | 24 | 0 | 24 | 0 | 0 | 24 |  | 1 | [5 empty] | 2 | 0
Fixed_Gen | 350 | 0 | 0 | 400 | 400 | 500 | -350 | 15 | 0.083333 | 0.083333 | 0 | 24 | 0 | 400 | 0 | 0 | 24 |  | 1 | [5 empty] | 1 | 0
Note on B1: Erik Ela: Max capacity in MW
Note on C1: Erik Ela: no load cost in $/h
Note on D1: Erik Ela: startup cost if fixed cost in $
Note on E1: Erik Ela: minimum run time in hours
Note on F1: Erik Ela: minimum down time in hours
Note on G1: Erik Ela: Ramp Rate in MW/min
Note on H1: Erik Ela: minimum generation level in MW
Note on I1: Erik Ela: See Definitions page
Note on J1: Erik Ela: startup time in hours
Note on L1: Erik Ela: Whether the unit is qualified to provide regulation, has agc infrastructure.
Note on M1: Erik Ela: Maximum starts per day.
Note on N1: Erik Ela: Status the hour before the operating day.
Note on O1: Erik Ela: Number of hours on or off before the day starts
Note on P1: Erik Ela: MW at hour 23 of prior day.
Note on Q1: Erik Ela: random number based on uniform distribution in program.
Note on R1: Erik Ela: Mean Time to Repair. Based on a lognormal pdf.
Note on S1: Erik Ela: Whether the unit has a variable startup cost based on offline cost. 1=yes, 0=no, if 1, must include data on startup tab.
Note on T1: Erik Ela: Standard Deviation of 6 second variance from schedule.

## COST
| COST1 | MW1 | COST2 | MW2 | COST3 | MW3 | COST4 | MW4
TG1 | 27.3758 | 11.25 | 28.2466 | 17.5 | 29.1174 | 23.75 | 29.9882 | 30
TG2 | 27.3758 | 11.25 | 28.2466 | 17.5 | 29.1174 | 23.75 | 29.9882 | 30
TG3 | 27.3758 | 11.25 | 28.2466 | 17.5 | 29.1174 | 23.75 | 29.9882 | 30
TG4 | 16.5578 | 187.5 | 17.3734 | 225 | 18.1891 | 262.5 | 19.0047 | 300
TG5 | 15.6063 | 150 | 16.6938 | 200 | 17.7813 | 250 | 18.8687 | 300
TG6 | 27.9854 | 15 | 28.682 | 20 | 29.3787 | 25 | 30.0753 | 30
TG7 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG8 | 27.3758 | 11.25 | 28.2466 | 17.5 | 29.1174 | 23.75 | 29.9882 | 30
TG9 | 27.3758 | 11.25 | 28.2466 | 17.5 | 29.1174 | 23.75 | 29.9882 | 30
TG10 | 15.6063 | 150 | 16.6938 | 200 | 17.7813 | 250 | 18.8687 | 300
TG11 | 11.5475 | 162.5 | 11.9225 | 225 | 12.2975 | 287.5 | 12.6725 | 350
TG12 | 27.7416 | 13.5 | 28.5079 | 19 | 29.2742 | 24.5 | 30.0404 | 30
TG13 | 27.7416 | 13.5 | 28.5079 | 19 | 29.2742 | 24.5 | 30.0404 | 30
TG14 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG15 | 27.7416 | 13.5 | 28.5079 | 19 | 29.2742 | 24.5 | 30.0404 | 30
TG16 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG17 | 27.7416 | 13.5 | 28.5079 | 19 | 29.2742 | 24.5 | 30.0404 | 30
TG18 | 27.7416 | 13.5 | 28.5079 | 19 | 29.2742 | 24.5 | 30.0404 | 30
TG19 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG20 | 12.6901 | 100 | 12.9302 | 150 | 13.1704 | 200 | 13.4105 | 250
TG21 | 12.6901 | 100 | 12.9302 | 150 | 13.1704 | 200 | 13.4105 | 250
TG22 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG23 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG24 | 13.895 | 87.5 | 14.225 | 125 | 14.555 | 162.5 | 14.885 | 200
TG25 | 13.895 | 87.5 | 14.225 | 125 | 14.555 | 162.5 | 14.885 | 200
TG26 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG27 | 11.3045 | 180 | 12.9989 | 260 | 14.6934 | 340 | 16.3879 | 420
TG28 | 11.3045 | 180 | 12.9989 | 260 | 14.6934 | 340 | 16.3879 | 420
TG29 | 15.2256 | 135 | 16.4219 | 190 | 17.6181 | 245 | 18.8144 | 300
TG30 | 18.8002 | 42.5 | 19.9482 | 55 | 21.0963 | 67.5 | 22.2444 | 80
TG31 | 27.9854 | 15 | 28.682 | 20 | 29.3787 | 25 | 30.0753 | 30
TG32 | 27.3758 | 11.25 | 28.2466 | 17.5 | 29.1174 | 23.75 | 29.9882 | 30
TG33 | 38.0859 | 8.75 | 38.2982 | 12.5 | 38.5105 | 16.25 | 38.7227 | 20
TG34 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG35 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG36 | 16.5578 | 187.5 | 17.3734 | 225 | 18.1891 | 262.5 | 19.0047 | 300
TG37 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG38 | 27.9854 | 15 | 28.682 | 20 | 29.3787 | 25 | 30.0753 | 30
TG39 | 11.51 | 150 | 11.81 | 200 | 12.11 | 250 | 12.41 | 300
TG40 | 14.3828 | 87.5 | 15.1984 | 125 | 16.0141 | 162.5 | 16.8297 | 200
TG41 | 38.2345 | 11 | 38.4043 | 14 | 38.5742 | 17 | 38.744 | 20
TG42 | 23.4065 | 27.5 | 23.5532 | 35 | 23.6998 | 42.5 | 23.8464 | 50
TG43 | 15.6063 | 150 | 16.6938 | 200 | 17.7813 | 250 | 18.8687 | 300
TG44 | 15.6063 | 150 | 16.6938 | 200 | 17.7813 | 250 | 18.8687 | 300
TG45 | 15.6063 | 150 | 16.6938 | 200 | 17.7813 | 250 | 18.8687 | 300
TG46 | 38.2345 | 11 | 38.4043 | 14 | 38.5742 | 17 | 38.744 | 20
TG47 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG48 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG49 | 38.2345 | 11 | 38.4043 | 14 | 38.5742 | 17 | 38.744 | 20
TG50 | 23.4921 | 31.25 | 23.6142 | 37.5 | 23.7364 | 43.75 | 23.8586 | 50
TG51 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG52 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG53 | 18.7 | 43.75 | 19.18 | 62.5 | 19.66 | 81.25 | 20.14 | 100
TG54 | 23.4921 | 31.25 | 23.6142 | 37.5 | 23.7364 | 43.75 | 23.8586 | 50
Wind | 0 | 1500 | 0 | 0 | 0 | 0 | 0 | 0
Storage | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 0
Fixed_Gen | 0 | 350 | 0 | 0 | 0 | 0 | 0 | 0
Note on B1: Erik Ela: cost for block 1
Note on C1: Erik Ela: maximum MW for block 2
Note on D1: Erik Ela: cost for block 2
Note on E1: Erik Ela: cumulative max for block 1 and 2
Note on F1: Erik Ela: cost for block 3
Note on G1: Erik Ela: cumulative max for blocks 1-3.
Note on H1: Erik Ela: cost for block 4.
Note on I1: Erik Ela: cumulative maximum for all blocks. Should be equal to capacity.

## ASC
| SPIN | NON_SPIN | REGULATION_DOWN | REGULATION_UP
TG1 | 0 | 0 | 0 | 0
TG2 | 0 | 0 | 0 | 0
TG3 | 0 | 0 | 0 | 0
TG4 | 0 | 0 | 0 | 0
TG5 | 0 | 0 | 0 | 0
TG6 | 0 | 0 | 0 | 0
TG7 | 0 | 0 | 0 | 0
TG8 | 0 | 0 | 0 | 0
TG9 | 0 | 0 | 0 | 0
TG10 | 0 | 0 | 0 | 0
TG11 | 0 | 0 | 0 | 0
TG12 | 0 | 0 | 0 | 0
TG13 | 0 | 0 | 0 | 0
TG14 | 0 | 0 | 0 | 0
TG15 | 0 | 0 | 0 | 0
TG16 | 0 | 0 | 0 | 0
TG17 | 0 | 0 | 0 | 0
TG18 | 0 | 0 | 0 | 0
TG19 | 0 | 0 | 0 | 0
TG20 | 0 | 0 | 0 | 0
TG21 | 0 | 0 | 0 | 0
TG22 | 0 | 0 | 0 | 0
TG23 | 0 | 0 | 0 | 0
TG24 | 0 | 0 | 0 | 0
TG25 | 0 | 0 | 0 | 0
TG26 | 0 | 0 | 0 | 0
TG27 | 0 | 0 | 0 | 0
TG28 | 0 | 0 | 0 | 0
TG29 | 0 | 0 | 0 | 0
TG30 | 0 | 0 | 0 | 0
TG31 | 0 | 0 | 0 | 0
TG32 | 0 | 0 | 0 | 0
TG33 | 0 | 0 | 0 | 0
TG34 | 0 | 0 | 0 | 0
TG35 | 0 | 0 | 0 | 0
TG36 | 0 | 0 | 0 | 0
TG37 | 0 | 0 | 0 | 0
TG38 | 0 | 0 | 0 | 0
TG39 | 0 | 0 | 0 | 0
TG40 | 0 | 0 | 0 | 0
TG41 | 0 | 0 | 0 | 0
TG42 | 0 | 0 | 0 | 0
TG43 | 0 | 0 | 0 | 0
TG44 | 0 | 0 | 0 | 0
TG45 | 0 | 0 | 0 | 0
TG46 | 0 | 0 | 0 | 0
TG47 | 0 | 0 | 0 | 0
TG48 | 0 | 0 | 0 | 0
TG49 | 0 | 0 | 0 | 0
TG50 | 0 | 0 | 0 | 0
TG51 | 0 | 0 | 0 | 0
TG52 | 0 | 0 | 0 | 0
TG53 | 0 | 0 | 0 | 0
TG54 | 0 | 0 | 0 | 0
Wind | 0 | 0 | 0 | 0
Storage | 0 | 0 | 0 | 0
Fixed_Gen | 0 | 0 | 0 | 0

## STARTUP
OFF_HOT | COST_HOT | OFF_WARM | COST_WARM | OFF_COLD | COST_COLD
Note on B1: Erik Ela: minimum off line time
Note on C1: Erik Ela: startup cost in hot status in $
Note on D1: Erik Ela: minimum offline time for warm status
Note on E1: Erik Ela: cost for startup during warm status in $
Note on F1: Erik Ela: minimum offline hours for cold status
Note on G1: Erik Ela: startup cost when in cold status in $

## BUS
BUSES
B1
B2
B3
B4
B5
B6
B7
B8
B9
B10
B11
B12
B13
B14
B15
B16
B17
B18
B19
B20
B21
B22
B23
B24
B25
B26
B27
B28
B29
B30
B31
B32
B33
B34
B35
B36
B37
B38
B39
B40
B41
B42
B43
B44
B45
B46
B47
B48
B49
B50
B51
B52
B53
B54
B55
B56
B57
B58
B59
B60
B61
B62
B63
B64
B65
B66
B67
B68
B69
B70
B71
B72
B73
B74
B75
B76
B77
B78
B79
B80
B81
B82
B83
B84
B85
B86
B87
B88
B89
B90
B91
B92
B93
B94
B95
B96
B97
B98
B99
B100
B101
B102
B103
B104
B105
B106
B107
B108
B109
B110
B111
B112
B113
B114
B115
B116
B117
B118

## GENBUS
GENBUS | participation factors
B4.TG1 | 1
B6.TG2 | 1
B8.TG3 | 1
B10.TG4 | 1
B12.TG5 | 1
B15.TG6 | 1
B18.TG7 | 1
B19.TG8 | 1
B24.TG9 | 1
B25.TG10 | 1
B26.TG11 | 1
B27.TG12 | 1
B31.TG13 | 1
B32.TG14 | 1
B34.TG15 | 1
B36.TG16 | 1
B40.TG17 | 1
B42.TG18 | 1
B46.TG19 | 1
B49.TG20 | 1
B54.TG21 | 1
B55.TG22 | 1
B56.TG23 | 1
B59.TG24 | 1
B61.TG25 | 1
B62.TG26 | 1
B65.TG27 | 1
B66.TG28 | 1
B69.TG29 | 1
B70.TG30 | 1
B72.TG31 | 1
B73.TG32 | 1
B74.TG33 | 1
B76.TG34 | 1
B77.TG35 | 1
B80.TG36 | 1
B82.TG37 | 1
B85.TG38 | 1
B87.TG39 | 1
B89.TG40 | 1
B90.TG41 | 1
B91.TG42 | 1
B92.TG43 | 1
B99.TG44 | 1
B100.TG45 | 1
B103.TG46 | 1
B104.TG47 | 1
B105.TG48 | 1
B107.TG49 | 1
B110.TG50 | 1
B111.TG51 | 1
B112.TG52 | 1
B113.TG53 | 1
B116.TG54 | 1
B43.Wind | 1
B80.Storage | 1
B42.Fixed_Gen | 1
Note on A1: Erik Ela: format is bus.gen

## LOAD_DIST
BUS | LOAD
B1 | 0.014503
B2 | 0.005687
B3 | 0.01109
B4 | 0.0085319
B6 | 0.014787
B7 | 0.0054031
B11 | 0.019906
B12 | 0.013364
B13 | 0.0096676
B14 | 0.0039806
B15 | 0.025593
B16 | 0.0071094
B17 | 0.0031288
B18 | 0.017061
B19 | 0.012796
B20 | 0.0051191
B21 | 0.0039806
B22 | 0.0028448
B23 | 0.0019903
B27 | 0.017632
B28 | 0.0048352
B29 | 0.0068255
B31 | 0.012229
B32 | 0.016777
B33 | 0.0065415
B34 | 0.016777
B35 | 0.0093837
B36 | 0.0088158
B39 | 0.0072327
B40 | 0.0053575
B41 | 0.0099114
B42 | 0.0099114
B43 | 0.0048218
B44 | 0.004286
B45 | 0.014197
B46 | 0.0075005
B47 | 0.0091078
B48 | 0.0053575
B49 | 0.023305
B50 | 0.0045539
B51 | 0.0045539
B52 | 0.0048218
B53 | 0.0061611
B54 | 0.03027
B55 | 0.016876
B56 | 0.022502
B57 | 0.0032145
B58 | 0.0032145
B59 | 0.074202
B60 | 0.020894
B62 | 0.020626
B66 | 0.010447
B67 | 0.0075005
B70 | 0.01768
B74 | 0.018216
B75 | 0.01259
B76 | 0.018216
B77 | 0.01634
B78 | 0.019019
B79 | 0.010447
B80 | 0.034824
B82 | 0.014465
B83 | 0.0053575
B84 | 0.0029466
B85 | 0.006429
B86 | 0.0056254
B88 | 0.012858
B90 | 0.020894
B92 | 0.017412
B93 | 0.0032145
B94 | 0.0080363
B95 | 0.011251
B96 | 0.010179
B97 | 0.0040181
B98 | 0.0091078
B100 | 0.0099114
B101 | 0.0058933
B102 | 0.0013394
B103 | 0.0061611
B104 | 0.010179
B105 | 0.0083042
B106 | 0.011519
B107 | 0.0075005
B108 | 0.00053575
B109 | 0.002143
B110 | 0.010447
B112 | 0.0066969
B114 | 0.0022743
B115 | 0.0062549
B117 | 0.005687
B118 | 0.0088399
Note on B1: Erik Ela: percentage of load at bus.

## BRANCHDATA
| BRANCHBUS |  | REACTANCE | RESISTANCE | LINE_RATING | STE_RATING | PHASE_SHIFTER_ANGLE_LOW | PHASE_SHIFTER_ANGLE_HIGH | CTGC_MONITOR | BRANCH_TYPE
BR1 | BR1.B1.B2 | BR1 | 0.0999 | 0 | 175 | 218.75 |  |  | 0 | 1
BR2 | BR2.B1.B3 | BR2 | 0.0424 | 0 | 175 | 218.75 |  |  | 0 | 1
BR3 | BR3.B4.B5 | BR3 | 0.00798 | 0 | 500 | 625 |  |  | 0 | 1
BR4 | BR4.B3.B5 | BR4 | 0.108 | 0 | 175 | 218.75 |  |  | 0 | 1
BR5 | BR5.B5.B6 | BR5 | 0.054 | 0 | 175 | 218.75 |  |  | 0 | 1
BR6 | BR6.B6.B7 | BR6 | 0.0208 | 0 | 175 | 218.75 |  |  | 0 | 1
BR7 | BR7.B8.B9 | BR7 | 0.0305 | 0 | 500 | 625 |  |  | 0 | 1
BR8 | BR8.B8.B5 | BR8 | 0.0267 | 0 | 500 | 625 |  |  | 0 | 1
BR9 | BR9.B9.B10 | BR9 | 0.0322 | 0 | 500 | 625 |  |  | 0 | 1
BR10 | BR10.B4.B11 | BR10 | 0.0688 | 0 | 175 | 218.75 |  |  | 0 | 1
BR11 | BR11.B5.B11 | BR11 | 0.0682 | 0 | 175 | 218.75 |  |  | 0 | 1
BR12 | BR12.B11.B12 | BR12 | 0.0196 | 0 | 175 | 218.75 |  |  | 0 | 1
BR13 | BR13.B2.B12 | BR13 | 0.0616 | 0 | 175 | 218.75 |  |  | 0 | 1
BR14 | BR14.B3.B12 | BR14 | 0.16 | 0 | 175 | 218.75 |  |  | 0 | 1
BR15 | BR15.B7.B12 | BR15 | 0.034 | 0 | 175 | 218.75 |  |  | 0 | 1
BR16 | BR16.B11.B13 | BR16 | 0.0731 | 0 | 175 | 218.75 |  |  | 0 | 1
BR17 | BR17.B12.B14 | BR17 | 0.0707 | 0 | 175 | 218.75 |  |  | 0 | 1
BR18 | BR18.B13.B15 | BR18 | 0.2444 | 0 | 175 | 218.75 |  |  | 0 | 1
BR19 | BR19.B14.B15 | BR19 | 0.195 | 0 | 175 | 218.75 |  |  | 0 | 1
BR20 | BR20.B12.B16 | BR20 | 0.0834 | 0 | 175 | 218.75 |  |  | 0 | 1
BR21 | BR21.B15.B17 | BR21 | 0.0437 | 0 | 500 | 625 |  |  | 1 | 1
BR22 | BR22.B16.B17 | BR22 | 0.1801 | 0 | 175 | 218.75 |  |  | 0 | 1
BR23 | BR23.B17.B18 | BR23 | 0.0505 | 0 | 175 | 218.75 |  |  | 0 | 1
BR24 | BR24.B18.B19 | BR24 | 0.0493 | 0 | 175 | 218.75 |  |  | 0 | 1
BR25 | BR25.B19.B20 | BR25 | 0.117 | 0 | 175 | 218.75 |  |  | 0 | 1
BR26 | BR26.B15.B19 | BR26 | 0.0394 | 0 | 175 | 218.75 |  |  | 0 | 1
BR27 | BR27.B20.B21 | BR27 | 0.0849 | 0 | 175 | 218.75 |  |  | 0 | 1
BR28 | BR28.B21.B22 | BR28 | 0.097 | 0 | 175 | 218.75 |  |  | 0 | 1
BR29 | BR29.B22.B23 | BR29 | 0.159 | 0 | 175 | 218.75 |  |  | 0 | 1
BR30 | BR30.B23.B24 | BR30 | 0.0492 | 0 | 175 | 218.75 |  |  | 0 | 1
BR31 | BR31.B23.B25 | BR31 | 0.08 | 0 | 500 | 625 |  |  | 0 | 1
BR32 | BR32.B26.B25 | BR32 | 0.0382 | 0 | 500 | 625 |  |  | 0 | 1
BR33 | BR33.B25.B27 | BR33 | 0.163 | 0 | 500 | 625 |  |  | 0 | 1
BR34 | BR34.B27.B28 | BR34 | 0.0855 | 0 | 175 | 218.75 |  |  | 0 | 1
BR35 | BR35.B28.B29 | BR35 | 0.0943 | 0 | 175 | 218.75 |  |  | 0 | 1
BR36 | BR36.B30.B17 | BR36 | 0.0388 | 0 | 500 | 625 |  |  | 1 | 1
BR37 | BR37.B8.B30 | BR37 | 0.0504 | 0 | 175 | 218.75 |  |  | 0 | 1
BR38 | BR38.B26.B30 | BR38 | 0.086 | 0 | 500 | 625 |  |  | 0 | 1
BR39 | BR39.B17.B31 | BR39 | 0.1563 | 0 | 175 | 218.75 |  |  | 0 | 1
BR40 | BR40.B29.B31 | BR40 | 0.0331 | 0 | 175 | 218.75 |  |  | 0 | 1
BR41 | BR41.B23.B32 | BR41 | 0.1153 | 0 | 140 | 175 |  |  | 0 | 1
BR42 | BR42.B31.B32 | BR42 | 0.0985 | 0 | 175 | 218.75 |  |  | 0 | 1
BR43 | BR43.B27.B32 | BR43 | 0.0755 | 0 | 175 | 218.75 |  |  | 0 | 1
BR44 | BR44.B15.B33 | BR44 | 0.1244 | 0 | 175 | 218.75 |  |  | 0 | 1
BR45 | BR45.B19.B34 | BR45 | 0.247 | 0 | 175 | 218.75 |  |  | 0 | 1
BR46 | BR46.B35.B36 | BR46 | 0.0102 | 0 | 175 | 218.75 |  |  | 0 | 1
BR47 | BR47.B35.B37 | BR47 | 0.0497 | 0 | 175 | 218.75 |  |  | 0 | 1
BR48 | BR48.B33.B37 | BR48 | 0.142 | 0 | 175 | 218.75 |  |  | 0 | 1
BR49 | BR49.B34.B36 | BR49 | 0.0268 | 0 | 175 | 218.75 |  |  | 0 | 1
BR50 | BR50.B34.B37 | BR50 | 0.0094 | 0 | 500 | 625 |  |  | 0 | 1
BR51 | BR51.B38.B37 | BR51 | 0.0375 | 0 | 500 | 625 |  |  | 1 | 1
BR52 | BR52.B37.B39 | BR52 | 0.106 | 0 | 175 | 218.75 |  |  | 0 | 1
BR53 | BR53.B37.B40 | BR53 | 0.168 | 0 | 175 | 218.75 |  |  | 0 | 1
BR54 | BR54.B30.B38 | BR54 | 0.054 | 0 | 175 | 218.75 |  |  | 0 | 1
BR55 | BR55.B39.B40 | BR55 | 0.0605 | 0 | 175 | 218.75 |  |  | 0 | 1
BR56 | BR56.B40.B41 | BR56 | 0.0487 | 0 | 175 | 218.75 |  |  | 0 | 1
BR57 | BR57.B40.B42 | BR57 | 0.183 | 0 | 175 | 218.75 |  |  | 0 | 1
BR58 | BR58.B41.B42 | BR58 | 0.135 | 0 | 175 | 218.75 |  |  | 0 | 1
BR59 | BR59.B43.B44 | BR59 | 0.2454 | 0 | 175 | 218.75 |  |  | 0 | 1
BR60 | BR60.B34.B43 | BR60 | 0.1681 | 0 | 175 | 218.75 |  |  | 0 | 1
BR61 | BR61.B44.B45 | BR61 | 0.0901 | 0 | 175 | 218.75 |  |  | 0 | 1
BR62 | BR62.B45.B46 | BR62 | 0.1356 | 0 | 175 | 218.75 |  |  | 0 | 1
BR63 | BR63.B46.B47 | BR63 | 0.127 | 0 | 175 | 218.75 |  |  | 0 | 1
BR64 | BR64.B46.B48 | BR64 | 0.189 | 0 | 175 | 218.75 |  |  | 0 | 1
BR65 | BR65.B47.B49 | BR65 | 0.0625 | 0 | 175 | 218.75 |  |  | 0 | 1
BR66 | BR66.B42.B49 | BR66 | 0.323 | 0 | 175 | 218.75 |  |  | 0 | 1
BR67 | BR67.B42.B49 | BR67 | 0.323 | 0 | 175 | 218.75 |  |  | 0 | 1
BR68 | BR68.B45.B49 | BR68 | 0.186 | 0 | 175 | 218.75 |  |  | 0 | 1
BR69 | BR69.B48.B49 | BR69 | 0.0505 | 0 | 175 | 218.75 |  |  | 0 | 1
BR70 | BR70.B49.B50 | BR70 | 0.0752 | 0 | 175 | 218.75 |  |  | 0 | 1
BR71 | BR71.B49.B51 | BR71 | 0.137 | 0 | 175 | 218.75 |  |  | 0 | 1
BR72 | BR72.B51.B52 | BR72 | 0.0588 | 0 | 175 | 218.75 |  |  | 0 | 1
BR73 | BR73.B52.B53 | BR73 | 0.1635 | 0 | 175 | 218.75 |  |  | 0 | 1
BR74 | BR74.B53.B54 | BR74 | 0.122 | 0 | 175 | 218.75 |  |  | 0 | 1
BR75 | BR75.B49.B54 | BR75 | 0.289 | 0 | 175 | 218.75 |  |  | 0 | 1
BR76 | BR76.B49.B54 | BR76 | 0.291 | 0 | 175 | 218.75 |  |  | 0 | 1
BR77 | BR77.B54.B55 | BR77 | 0.0707 | 0 | 175 | 218.75 |  |  | 0 | 1
BR78 | BR78.B54.B56 | BR78 | 0.00955 | 0 | 175 | 218.75 |  |  | 0 | 1
BR79 | BR79.B55.B56 | BR79 | 0.0151 | 0 | 175 | 218.75 |  |  | 0 | 1
BR80 | BR80.B56.B57 | BR80 | 0.0966 | 0 | 175 | 218.75 |  |  | 0 | 1
BR81 | BR81.B50.B57 | BR81 | 0.134 | 0 | 175 | 218.75 |  |  | 0 | 1
BR82 | BR82.B56.B58 | BR82 | 0.0966 | 0 | 175 | 218.75 |  |  | 0 | 1
BR83 | BR83.B51.B58 | BR83 | 0.0719 | 0 | 175 | 218.75 |  |  | 0 | 1
BR84 | BR84.B54.B59 | BR84 | 0.2293 | 0 | 175 | 218.75 |  |  | 0 | 1
BR85 | BR85.B56.B59 | BR85 | 0.251 | 0 | 175 | 218.75 |  |  | 0 | 1
BR86 | BR86.B56.B59 | BR86 | 0.239 | 0 | 175 | 218.75 |  |  | 0 | 1
BR87 | BR87.B55.B59 | BR87 | 0.2158 | 0 | 175 | 218.75 |  |  | 0 | 1
BR88 | BR88.B59.B60 | BR88 | 0.145 | 0 | 175 | 218.75 |  |  | 0 | 1
BR89 | BR89.B59.B61 | BR89 | 0.15 | 0 | 175 | 218.75 |  |  | 0 | 1
BR90 | BR90.B60.B61 | BR90 | 0.0135 | 0 | 500 | 625 |  |  | 0 | 1
BR91 | BR91.B60.B62 | BR91 | 0.0561 | 0 | 175 | 218.75 |  |  | 0 | 1
BR92 | BR92.B61.B62 | BR92 | 0.0376 | 0 | 175 | 218.75 |  |  | 0 | 1
BR93 | BR93.B63.B59 | BR93 | 0.0386 | 0 | 500 | 625 |  |  | 0 | 1
BR94 | BR94.B63.B64 | BR94 | 0.02 | 0 | 500 | 625 |  |  | 0 | 1
BR95 | BR95.B64.B61 | BR95 | 0.0268 | 0 | 500 | 625 |  |  | 0 | 1
BR96 | BR96.B38.B65 | BR96 | 0.0986 | 0 | 500 | 625 |  |  | 1 | 1
BR97 | BR97.B64.B65 | BR97 | 0.0302 | 0 | 500 | 625 |  |  | 0 | 1
BR98 | BR98.B49.B66 | BR98 | 0.0919 | 0 | 500 | 625 |  |  | 0 | 1
BR99 | BR99.B49.B66 | BR99 | 0.0919 | 0 | 500 | 625 |  |  | 0 | 1
BR100 | BR100.B62.B66 | BR100 | 0.218 | 0 | 175 | 218.75 |  |  | 0 | 1
BR101 | BR101.B62.B67 | BR101 | 0.117 | 0 | 175 | 218.75 |  |  | 0 | 1
BR102 | BR102.B65.B66 | BR102 | 0.037 | 0 | 500 | 625 |  |  | 0 | 1
BR103 | BR103.B66.B67 | BR103 | 0.1015 | 0 | 175 | 218.75 |  |  | 0 | 1
BR104 | BR104.B65.B68 | BR104 | 0.016 | 0 | 500 | 625 |  |  | 0 | 1
BR105 | BR105.B47.B69 | BR105 | 0.2778 | 0 | 175 | 218.75 |  |  | 0 | 1
BR106 | BR106.B49.B69 | BR106 | 0.324 | 0 | 175 | 218.75 |  |  | 0 | 1
BR107 | BR107.B68.B69 | BR107 | 0.037 | 0 | 500 | 625 |  |  | 0 | 1
BR108 | BR108.B69.B70 | BR108 | 0.127 | 0 | 500 | 625 |  |  | 0 | 1
BR109 | BR109.B24.B70 | BR109 | 0.4115 | 0 | 175 | 218.75 |  |  | 0 | 1
BR110 | BR110.B70.B71 | BR110 | 0.0355 | 0 | 175 | 218.75 |  |  | 0 | 1
BR111 | BR111.B24.B72 | BR111 | 0.196 | 0 | 175 | 218.75 |  |  | 0 | 1
BR112 | BR112.B71.B72 | BR112 | 0.18 | 0 | 175 | 218.75 |  |  | 0 | 1
BR113 | BR113.B71.B73 | BR113 | 0.0454 | 0 | 175 | 218.75 |  |  | 0 | 1
BR114 | BR114.B70.B74 | BR114 | 0.1323 | 0 | 175 | 218.75 |  |  | 0 | 1
BR115 | BR115.B70.B75 | BR115 | 0.141 | 0 | 175 | 218.75 |  |  | 0 | 1
BR116 | BR116.B69.B75 | BR116 | 0.122 | 0 | 500 | 625 |  |  | 1 | 1
BR117 | BR117.B74.B75 | BR117 | 0.0406 | 0 | 175 | 218.75 |  |  | 0 | 1
BR118 | BR118.B76.B77 | BR118 | 0.148 | 0 | 175 | 218.75 |  |  | 0 | 1
BR119 | BR119.B69.B77 | BR119 | 0.101 | 0 | 175 | 218.75 |  |  | 0 | 1
BR120 | BR120.B75.B77 | BR120 | 0.1999 | 0 | 175 | 218.75 |  |  | 0 | 1
BR121 | BR121.B77.B78 | BR121 | 0.0124 | 0 | 175 | 218.75 |  |  | 0 | 1
BR122 | BR122.B78.B79 | BR122 | 0.0244 | 0 | 175 | 218.75 |  |  | 0 | 1
BR123 | BR123.B77.B80 | BR123 | 0.0485 | 0 | 500 | 625 |  |  | 0 | 1
BR124 | BR124.B77.B80 | BR124 | 0.105 | 0 | 500 | 625 |  |  | 0 | 1
BR125 | BR125.B79.B80 | BR125 | 0.0704 | 0 | 175 | 218.75 |  |  | 0 | 1
BR126 | BR126.B68.B81 | BR126 | 0.0202 | 0 | 500 | 625 |  |  | 0 | 1
BR127 | BR127.B81.B80 | BR127 | 0.037 | 0 | 500 | 625 |  |  | 0 | 1
BR128 | BR128.B77.B82 | BR128 | 0.0853 | 0 | 200 | 250 |  |  | 0 | 1
BR129 | BR129.B82.B83 | BR129 | 0.03665 | 0 | 200 | 250 |  |  | 0 | 1
BR130 | BR130.B83.B84 | BR130 | 0.132 | 0 | 175 | 218.75 |  |  | 0 | 1
BR131 | BR131.B83.B85 | BR131 | 0.148 | 0 | 175 | 218.75 |  |  | 0 | 1
BR132 | BR132.B84.B85 | BR132 | 0.0641 | 0 | 175 | 218.75 |  |  | 0 | 1
BR133 | BR133.B85.B86 | BR133 | 0.123 | 0 | 500 | 625 |  |  | 0 | 1
BR134 | BR134.B86.B87 | BR134 | 0.2074 | 0 | 500 | 625 |  |  | 0 | 1
BR135 | BR135.B85.B88 | BR135 | 0.102 | 0 | 175 | 218.75 |  |  | 0 | 1
BR136 | BR136.B85.B89 | BR136 | 0.173 | 0 | 175 | 218.75 |  |  | 0 | 1
BR137 | BR137.B88.B89 | BR137 | 0.0712 | 0 | 500 | 625 |  |  | 0 | 1
BR138 | BR138.B89.B90 | BR138 | 0.188 | 0 | 500 | 625 |  |  | 0 | 1
BR139 | BR139.B89.B90 | BR139 | 0.0997 | 0 | 500 | 625 |  |  | 0 | 1
BR140 | BR140.B90.B91 | BR140 | 0.0836 | 0 | 175 | 218.75 |  |  | 0 | 1
BR141 | BR141.B89.B92 | BR141 | 0.0505 | 0 | 500 | 625 |  |  | 0 | 1
BR142 | BR142.B89.B92 | BR142 | 0.1581 | 0 | 500 | 625 |  |  | 0 | 1
BR143 | BR143.B91.B92 | BR143 | 0.1272 | 0 | 175 | 218.75 |  |  | 0 | 1
BR144 | BR144.B92.B93 | BR144 | 0.0848 | 0 | 175 | 218.75 |  |  | 0 | 1
BR145 | BR145.B92.B94 | BR145 | 0.158 | 0 | 175 | 218.75 |  |  | 0 | 1
BR146 | BR146.B93.B94 | BR146 | 0.0732 | 0 | 175 | 218.75 |  |  | 0 | 1
BR147 | BR147.B94.B95 | BR147 | 0.0434 | 0 | 175 | 218.75 |  |  | 0 | 1
BR148 | BR148.B80.B96 | BR148 | 0.182 | 0 | 175 | 218.75 |  |  | 0 | 1
BR149 | BR149.B82.B96 | BR149 | 0.053 | 0 | 175 | 218.75 |  |  | 0 | 1
BR150 | BR150.B94.B96 | BR150 | 0.0869 | 0 | 175 | 218.75 |  |  | 0 | 1
BR151 | BR151.B80.B97 | BR151 | 0.0934 | 0 | 175 | 218.75 |  |  | 0 | 1
BR152 | BR152.B80.B98 | BR152 | 0.108 | 0 | 175 | 218.75 |  |  | 0 | 1
BR153 | BR153.B80.B99 | BR153 | 0.206 | 0 | 200 | 250 |  |  | 0 | 1
BR154 | BR154.B92.B100 | BR154 | 0.295 | 0 | 175 | 218.75 |  |  | 0 | 1
BR155 | BR155.B94.B100 | BR155 | 0.058 | 0 | 175 | 218.75 |  |  | 0 | 1
BR156 | BR156.B95.B96 | BR156 | 0.0547 | 0 | 175 | 218.75 |  |  | 0 | 1
BR157 | BR157.B96.B97 | BR157 | 0.0885 | 0 | 175 | 218.75 |  |  | 0 | 1
BR158 | BR158.B98.B100 | BR158 | 0.179 | 0 | 175 | 218.75 |  |  | 0 | 1
BR159 | BR159.B99.B100 | BR159 | 0.0813 | 0 | 175 | 218.75 |  |  | 0 | 1
BR160 | BR160.B100.B101 | BR160 | 0.1262 | 0 | 175 | 218.75 |  |  | 0 | 1
BR161 | BR161.B92.B102 | BR161 | 0.0559 | 0 | 175 | 218.75 |  |  | 0 | 1
BR162 | BR162.B101.B102 | BR162 | 0.112 | 0 | 175 | 218.75 |  |  | 0 | 1
BR163 | BR163.B100.B103 | BR163 | 0.0525 | 0 | 500 | 625 |  |  | 0 | 1
BR164 | BR164.B100.B104 | BR164 | 0.204 | 0 | 175 | 218.75 |  |  | 0 | 1
BR165 | BR165.B103.B104 | BR165 | 0.1584 | 0 | 175 | 218.75 |  |  | 0 | 1
BR166 | BR166.B103.B105 | BR166 | 0.1625 | 0 | 175 | 218.75 |  |  | 0 | 1
BR167 | BR167.B100.B106 | BR167 | 0.229 | 0 | 175 | 218.75 |  |  | 0 | 1
BR168 | BR168.B104.B105 | BR168 | 0.0378 | 0 | 175 | 218.75 |  |  | 0 | 1
BR169 | BR169.B105.B106 | BR169 | 0.0547 | 0 | 175 | 218.75 |  |  | 0 | 1
BR170 | BR170.B105.B107 | BR170 | 0.183 | 0 | 175 | 218.75 |  |  | 0 | 1
BR171 | BR171.B105.B108 | BR171 | 0.0703 | 0 | 175 | 218.75 |  |  | 0 | 1
BR172 | BR172.B106.B107 | BR172 | 0.183 | 0 | 175 | 218.75 |  |  | 0 | 1
BR173 | BR173.B108.B109 | BR173 | 0.0288 | 0 | 175 | 218.75 |  |  | 0 | 1
BR174 | BR174.B103.B110 | BR174 | 0.1813 | 0 | 175 | 218.75 |  |  | 0 | 1
BR175 | BR175.B109.B110 | BR175 | 0.0762 | 0 | 175 | 218.75 |  |  | 0 | 1
BR176 | BR176.B110.B111 | BR176 | 0.0755 | 0 | 175 | 218.75 |  |  | 0 | 1
BR177 | BR177.B110.B112 | BR177 | 0.064 | 0 | 175 | 218.75 |  |  | 0 | 1
BR178 | BR178.B17.B113 | BR178 | 0.0301 | 0 | 175 | 218.75 |  |  | 0 | 1
BR179 | BR179.B32.B113 | BR179 | 0.203 | 0 | 500 | 625 |  |  | 0 | 1
BR180 | BR180.B32.B114 | BR180 | 0.0612 | 0 | 175 | 218.75 |  |  | 0 | 1
BR181 | BR181.B27.B115 | BR181 | 0.0741 | 0 | 175 | 218.75 |  |  | 0 | 1
BR182 | BR182.B114.B115 | BR182 | 0.0104 | 0 | 175 | 218.75 |  |  | 0 | 1
BR183 | BR183.B68.B116 | BR183 | 0.00405 | 0 | 500 | 625 |  |  | 0 | 1
BR184 | BR184.B12.B117 | BR184 | 0.14 | 0 | 175 | 218.75 |  |  | 0 | 1
BR185 | BR185.B75.B118 | BR185 | 0.0481 | 0 | 175 | 218.75 |  |  | 0 | 1
BR186 | BR186.B76.B118 | BR186 | 0.0544 | 0 | 175 | 218.75 |  |  | 0 | 1
Note on B1: Erik Ela: format is branch.frombus.tobus
Note on D1: Erik Ela: reactance in p.u.
Note on E1: Erik Ela: line rating in MW
Note on F1: Erik Ela: emergency rating in MW
Note on G1: Erik Ela: minimum ps angle in degrees
Note on H1: Erik Ela: maximum ps angle in degrees
Note on I1: Erik Ela: whether the branch is monitored for contingency conditions. 1 if yes, 0 if no.
Note on J1: Erik Ela: See Definitions tab

## STORAGE
| MAX_PUMP | MIN_PUMP | MIN_PUMP_TIME | PUMP_STARTUP_TIME | PUMP_SHUTDOWN_TIME | PUMP_RAMP_RATE | INITIAL_STORAGE | FINAL_STORAGE | STORAGE_MAX | EFFICIENCY | RESERVOIR_VALUE | INITIAL_PUMP_STATUS | INITIAL_PUMP_MW | INITIAL_PUMP_HOUR | VARIABLE_EFFICIENCY | ENFORCE_FINAL_STORAGE
Storage | 100 | 0 | 0 | 0 | 0 | 100 | 1000 | 1000 | 2000 | 0.98 | 2000 | 0 | 0 | 24 | 0 | 1
Note on H1: Erik Ela: Storage levels at beginning of day (MWh)
Note on J1: Erik Ela: Max MWh of storage
Note on K1: Erik Ela: Round trip efficiency in %
Note on L1: Erik Ela: How much storage energy is worth at end of optimization

## PUMPEFFICIENCY
EFFICIENCY1 | MW1 | EFFICIENCY2 | MW2 | EFFICIENCY3 | MW3

## GENEFFICIENCY
EFFICIENCY1 | MW1 | EFFICIENCY2 | MW2 | EFFICIENCY3 | MW3

## ACTUAL_LOAD_REF
ACTUAL_LOAD.xlsx

## ACTUAL_VG_REF
ACTUAL_VG.xlsx

## RTD_VG_REF
RTD_VG.xlsx

## RTC_VG_REF
RTC_VG.xlsx

## DA_VG_REF
DA_VG.xlsx

## DA_RESERVE_REF
DA_RESERVES.xlsx

## DAC_FIXED_REF
DA_FIXED.xlsx